## Pipe Schedule ff
Item | Description | Unit | QTY | Rate EGP. | Total Price EGP.
Division 21 Fire Supression
Section 21-04 40 10 10
Water-Based Fire-Suppression Piping.
Supplying,installing, connecting and testing of ERW black steel fire protection piping system complete, include pipes fittings, supports, hangers, sleeves, inserting painting and all required welding and adapters all as per A.S.T.M. A-53 schedule 40 for piping system 2in dia.and smaller ( Threaded connections) and piping system 2.5in dia. and larger (Grooved Connections), all as specified and as shown on drawings
1 | 0.50 in | m | 13.364 | 100.00 | 1336.4
2 | 1.00 in | m | 187.493 | 180.00 | 33748.74
3 | 1.25 in | m | 41.126 | 250.00 | 10281.5
4 | 1.50 in | m | 38.511 | 400.00 | 15404.4
5 | 2.00 in | m | 53.012 | 600.00 | 31807.2
6 | 2.25 in | m | 2.368 | 800.00 | 1894.4
7 | 2.50 in | m | 18.569 | 1000.00 | 18569
8 | 3.00 in | m | 25.166 | 1200.00 | 30199.2
9 | 4.00 in | m | 53.057 | 2000.00 | 106114
| Totals |  |  |  | 249354.84